## Submission 2.01
DEP Contract ID: | [Contract] |  |  | NYC Department of Environmental Protection
DEP Project: | [Project Description] |  |  | Bureau of Environmental Planning and Analysis -- Green Infrastructure
Prepared By: | [Consultant/Sub Name] |  |  | Borough of X, New York
|  |  |  | Interim Geotechnical Report Summary Table for ROW GI Practices (Excluding Permeable Pavement) | [5 empty] | Submission # 2.01
GI ID No. | Soil Data (Laboratory Results or Historical Boring Soil Description) |  |  |  | Permeability Analysis |  |  | Groundwater Table Depth (ft) | Bedrock Depth (ft) | General Geotechnical Notes | Siting Analysis |  |  |  |  | Consultant Recommendation [Date] |  |  | DEP Review [Date]
| Nearest Boring ID No. | Depth (ft) | USCS Symbol | % Passing No 200 Sieve | Nearest Permeability Test ID No. | Permeability Test Depth (ft) | Average Permeability Coef. (in/hr) |  |  |  | ROWGI Length (ft) | ROWGI Width(ft) | Calculated Stormwater Mgmt Capacity (CF) | Available Upstream Distance - Sited* (ft) | Minimum Required Upstream Distance** (ft) | Recommendation for Survey | Stone Column Depth (ft) , if applicable | Additional Notes | Recommendation for Survey | Stone Column Depth (ft) , if applicable | Additional Notes
2017a | 0921-31 | 0-0.5 | Concrete |  | PT-2017a (1) | 5 | 0
|  | 0.5-24 | F-M Brown sand, trace silt, trace gravel (SP) |  |  | 10 | 0.26 | 31.4 | NE |  | 13 | 5 | 825.5383 | 16 | 173.1899 | Preliminary (For Survey)
|  | 24-51.5 | Fine brown sand, trace silt (SP) |  | PT-2017a (2) | 5 | 6.01
2022a | B-2022a | 5-7 | SP-SM | 5.5% | PT-2022a | 5 | 0.23
|  | 7-9 | SP-SM | 6.4% |  | 10 | 0.09 | NE | NE |  | 13 | 5 | 190.2712 | 18 | 72 | Preliminary (For Survey) | - | Hydraulically Connected to 2022b
|  | 11-13 | SP | 2.7%
|  | 18-20 | SP | 4.2%
2022b | B-2022a | 5-7 | SP-SM | 5.5% | PT-2022a | 5 | 0.23
|  | 7-9 | SP-SM | 6.4% |  | 10 | 0.09 | NE | NE |  | 13 | 5 | 190.27 | 225 | 72 | Preliminary (For Survey) | - | Hydraulically Connected to 2022a
|  | 11-13 | SP | 2.7%
|  | 18-20 | SP | 4.2%
2022c | B-2022c | 5-7 | SP | 4.5% | PT-2022c | 5 | 0.07
|  | 7-9 | SP | 1.9% |  | 10 | 2.32 | NE | NE | Organic clay was encountered at 9' | 13 | 4 | 116.58 | 150 | 44 | Rejected | -
|  | 11-13 | SP | 1.3%
|  | 18-20 | SP | 1.7%
2199b | B-2199b | 3-5 | SP | 3.5% | PT-2199b | 3 | 1.29
|  | 5-7 | SP | 1.3% |  | 6 | 2.61 | 8 | NE | Shallow GWT was encountered at 8ft and shallow Geotechnical procedure was followed | 13 | 5 | 311.085 | 30 | 109 | Preliminary (For Survey) |  | ROWRG Recommended |  | -
|  | 7-9 | SP | 2.9%
2199c | B-2199b | 3-5 | SP | 3.5% | PT-2199b | 3 | 1.29
|  | 5-7 | SP | 1.3% |  | 6 | 2.61 | 8 | NE |  | 13 | 5 | 311.085 | 170 | 109 | Preliminary (For Survey) |  | ROWRG Recommended |  | -
|  | 7-9 | SP | 2.9%
IB2221a | B-IB2221a(1) | 5-7 | SP | 1.5% | PT-IB2221a | 5 | 0.28
|  | 7-9 | SP | 1.7% |  | 10 | 1.47 | NE | NE | Refusal at 9' in boring. Moved to offset location. | 13 | 4 | 142.83 | 330 | 62 | Preliminary (For Survey) | - | Clearance to building = 8 ft |  | -
| B-IB2221a(2) | 11-13 | SP | 1.8% | [13 empty] | Vault survey will be conducted
|  | 18-20 | SP | 1.9% | [13 empty] | HDPE recommended
2210a | B-2210a | 5-7 | SC | 28% | PT-2210a | 5 | 4.23
|  | 7-9 | SP | 1.9% |  | 10 | 0.43 | NE | NE |  | 10 | 5 | 558.215 | 70 | 202.7326 | Preliminary (For Survey) | 13
|  | 11-13 | SP | 3.3%
|  | 18-20 | SP | 2.2%
2210b | B-2210b | 5-7 | SC | 10% | PT-2110b(1) | 5 | 0
|  | 7-9 | SP | 15% |  | 10 | 2.82 | NE | NE |  | 11 | 5 | 110.6117 | 100 | 40 | Preliminary (Interim Rejection)
|  | 11-13 | SP | 3.1% | PT-2110b(2) | 5 | 0.05
|  | 18-20 | SP | 2.5%
2222a | B-2222a | 5-7 | SP | 3.4% | PT-2222a | 5 | 1.1
|  | 7-9 | SP | 5% |  | 10 | 0.18 | NE | NE |  | 10 | 5 | 219.1317 | 120 | 96 | Preliminary (For Survey) | - | Clearance to building >10 ft |  | -
|  | 11-13 | SP | 2.3% | [13 empty] | Vault survey not necessary
|  | 18-20 | SP | 1%
2177a | B-2177a | 5-7 | SP | 5% | PT-2177a(1) | 5 | RI
|  | 7-9 | SP | 1.2% |  | 10 | 1.46 | NE | NE |  | 20 | 5 | 1212.1275 | 25 | 472.3565 | Preliminary (For Survey) |  |  |  | -
|  | 11-13 | SP | 1.1% | PT-2177a(2) | 5 | 5.4
|  | 18-20 | SP | 1.2%
2177b | B-2177a | 5-7 | SP | 5% | PT-2177a(1) | 5 | RI
|  | 7-9 | SP | 1.2% |  | 10 | 1.46 | NE | NE |  | 20 | 5 | 1212.1275 | 65 | 472.3565 | Reserved
|  | 11-13 | SP | 1.1% | PT-2177a(2) | 5 | 5.4
|  | 18-20 | SP | 1.2%
GS2216a | B-GS2216a | 5-7 | SM | 21.8% | PT-GS2216a (1) | 5 | NP
|  | 7-9 | SP | 1.4% |  | 10 | 3.91 | NE | NE | Refusal at 5' PT test both at original and offset location | 13 | 3 |  | 40 |  | Preliminary (Interim Rejection) |  |  |  | -
|  | 11-13 | SP | 3.9% | PT-GS2216a (2) | 5 | NP
|  | 18-20 | SP | 3.5%
GS2216b | B-GS2216a | 5-7 | SM | 21.8%
|  | 7-9 | SP | 1.4% | [6 empty] | 13 | 3 |  | 140 |  | Preliminary |  | Recommendation is to make GS2216b Preliminary, infer boring from GS2216a and PT Only
|  | 11-13 | SP | 3.9%
|  | 18-20 | SP | 3.5%
See 'Notes' for specific instructions on using template
*The distance between the inlet of the GI practice and either the inlet of an upstream GI practice or the top of the tributary area
**Minimum required length of upstream distance, D, determined by the following formula: D = (12*[Calculated Stormwater Mgmt Capacity])/(1.1*[TDA width]) | [16 empty] | Proceed | 9 |  | Proceed | 0
[17 empty] | Do not proceed/reject | 3 |  | Do not proceed/reject | 0
[17 empty] | Pending | 0 |  | Pending | 0
[17 empty] | Reserved | 1 |  | Reserved | 0
[17 empty] | Preliminary | 1 |  | Preliminary | 0
# of sites submitted: | [17 empty] | 14 |  |  | 0
14

## Sub Area 2
DEP Contract ID: | [Contract] |  |  | NYC Department of Environmental Protection
DEP Project: | [Project Description] |  |  | Bureau of Environmental Planning and Analysis -- Green Infrastructure
Prepared By: | [Consultant/Sub Name] |  |  | Borough of X, New York
|  |  |  | Interim Geotechnical Report Summary Table for Permeable Pavement | [5 empty] | Sub Area 2
Location | Soil Data (Laboratory Results or Historical Boring Soil Description) |  |  |  | Permeability Analysis |  |  | Groundwater Table Depth (ft) | Bedrock Depth (ft) | General Geotechnical Notes | PP ID No. | Consultant Recommendation [Date] | [8 empty] | Approximate Street Slope (%) | DEP Recommendation [Date]
| Nearby Boring ID No. | Depth (ft) | USCS Symbol | % Passing No 200 Sieve | Nearby Permeability Test ID No. | Permeability Test Depth (ft) | Average Permeability Coef. (in/hr) |  |  |  |  | Recommendation for Survey | (Storage & Infiltration/Storage Only) | Approximate ROWPP Length with Storage |  |  | Relevant Boring ID(s) from Nearby Locations | Relevant Permeability Test ID(s) from Nearby Locations | Stone Column Depth (ft), if applicable | Additional Notes |  | Recommendation for Survey | (Storage & Infiltration/Storage Only) | Approximate ROWPP Length with Storage |  |  | Relevant Boring ID(s) from Nearby Locations | Relevant Permeability Test ID(s) from Nearby Locations | Stone Column Depth (ft), if applicable | Additional Notes | PP panel width (ft)
[14 empty] | Reference ID/Point | Distance Downstream of Reference (ft) | Distance Upstream of Reference (ft) | [7 empty] | Reference ID/Point | Distance Downstream of Reference (ft) | Distance Upstream of Reference (ft)
64th Street between 15th Avenue and 16th Avenue |  |  |  |  | PT-GS2001A(1) | 5 | 3.5609 | NE | NE | PT-GS2001A(1) Refusal at 5.5' bgs | PP2001 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | NP |  |  | PT-GS2001A(2) Refusal at 6' bgs
[5 empty] | PT-GS2001A(2) | 10 | NP
[5 empty] | PT-GS2001B(1) | 5 | 0.6331 | NE | NE | PT-GS2001B(1) Refusal at 6.5' bgs
[6 empty] | 10 | NP |  |  | PT-GS2001B(2) Refusal at 6' bgs
[5 empty] | PT-GS2001B(2) | 10 | NP
[5 empty] | PT-IB2001-1B | 5 | 0.0111 | NE | NE |  | PP2001-1 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.0051
| B-IB2001-1C | 5'-7' | CL-ML | 61.55% | PT-IB2001-1C | 5 | 0.0151 | NE | NE | B-IB2001-1C refusal at 17' bgs
|  | 7'-9' | GM | 21.11% |  | 10 | 0.0051 |  |  | Sample 4 taken from 15'-17'
|  | 11'-13' | SM | 37.93% | [5 empty] | Poor permeability at 5' and 10'
|  | 15'-17' | SM | 31.42% | [5 empty] | High fines throughout
[5 empty] | PT-IB2001-1D | 5 | 0.074 | NE | NE
[6 empty] | 10 | 0.1008
| B-IB2001-1E | 5'-7' | CL | 92.91% | PT-IB2001-1E | 5 | 0.0273 | NE | NE | High fines 5'-9'
|  | 7'-9' | CL | 88.73% |  | 10 | 0.0279
|  | 11'-13' | SW-SM | 8.93%
|  | 18'-20' | SM | 15.5%
| B-2002B | 5'-7' | SP-SM | 10.38% | PT-2002B | 5 | 0.5077 | NE | NE | B-2002B refusal at 17' bgs | PP2002 | Preliminary (For Survey) |  | 2002B | 245 | 70 | B-2002B | PT-2002B |  |  | -0.102% | Preliminary (For Survey) | Storage & Infiltration | 2002B | 90 | 190 |  |  |  |  | 4
|  | 7'-9' | GM | 12.51% |  | 10 | 0.0864 |  |  | Sample 4 not taken
|  | 11'-13' | SM | 15.82% | [5 empty] | Poor permeability at 10'
[22 empty] | Preliminary (For Survey) | Storage | N/A | 50
[5 empty] | PT-GS2002-1B | 5 | 0.0158 | NE | NE | Poor permeability at 5' | PP2002-1 | Preliminary (Interim Rejection) | [9 empty] | Preliminary (For Survey) | Storage | N/A | 400 | [5 empty] | 4
[6 empty] | 10 | 0.6825
[5 empty] | PT-2002-1D | 5 | 0.0125 | NE | NE | Poor permeability at 5' and 10'
[6 empty] | 10 | 0.0108
[5 empty] | PT-IB2002-1E | 5 | 0.0691 | NE | NE | Poor permeability at 5' and 10'
[6 empty] | 10 | 0.0057
| B-IB2002-1F | 5'-7' | ML | 76.2% | PT-IB2002-1F | 5 | 0.1347 | NE | NE | Poor permeability at 10'
|  | 7'-9' | GM | 23.66% |  | 10 | 0.0056 |  |  | B-IB2002-1F refusal at 17' bgs
|  | 11'-13' | SM | 28.8% | [5 empty] | Sample 4 taken from 15'-17'
|  | 15'-17' | GM | 20.65% | [5 empty] | High fines 5'-7'
15th Avenue between 64th Street and 65th Street | B-IB2003A | 5'-7' | SM | 21.66% | PT-IB2003A | 5 | 0.0214 | NE | NE | Poor permeability at 5' and 10' | PP2003 | Rejected | [9 empty] | Preliminary (For Survey) | Storage & Infiltration | IB2003A | 50 | 180 |  |  |  |  | 2
|  | 7'-9' | SP-SM | 8.4% |  | 10 | 0.0185
|  | 11'-13' | SM | 13.85%
|  | 18'-20' | GM | 17.3%
[5 empty] | PT-IB2003B | 5 | 0.2333 | NE | NE
[6 empty] | 10 | 0.9571
[5 empty] | PT-IB2004B | 5 | 2.3771 | NE | NE | Poor permeability at 10' | PP2004 | Preliminary (For Survey) |  | IB2004C | 170 | 45 | B-IB2004C | PT-IB2004C |  |  | -0.8889% | Preliminary (For Survey) | Storage & Infiltration | IB2003A | 50 | 180 |  |  |  |  | 4
[6 empty] | 10 | 0.1128
| B-IB2004C | 5'-7' | SP-SM | 7.51% | PT-IB2004C | 5 | 5.9115 | NE | NE | B-IB2004C refusal at 15.5' bgs
|  | 7'-9' | SW-SM | 8.12% |  | 10 | 0.1068 |  |  | Sample 4 not taken
|  | 11'-13' | GW-GM | 9.14% | [5 empty] | Poor permeability at 10'
[5 empty] | PT-IB2004D | 5 | 0.2778 | NE | NE
[6 empty] | 10 | 0.0294
15th Avenue between 65th Street and 66th Street | B-2005A | 5'-7' | SM | 16.62% | PT-2005A | 5 | 0.7199 | NE | NE | B-2005A refusal at 18.5' bgs | PP2005 | Rejected | [9 empty] | Preliminary (For Survey) | Storage & Infiltration | 2005A | 35 | 60 |  |  |  |  | 2
|  | 7'-9' | SM | 14.1% |  | 10 | 0.0805 |  |  | Sample 4 taken from 18'-18.5'
|  | 11'-13' | GP-GM | 9.52% | [5 empty] | Poor permeability at 10'
|  | 18'-18.5' | SW-SM | 10.29%
[5 empty] | PT-2005B | 5 | 4.992 | NE | NE | [13 empty] | Storage | N/A | 135
[6 empty] | 10 | 1.1935
[5 empty] | PT-2005D | 5 | 0.2295 | NE | NE
[6 empty] | 10 | 1.3446
[5 empty] | PT-IB2006A | 5 | 0.2291 | NE | NE |  | PP2006 | Preliminary (For Survey) |  | 2006C | 135 | 70 | B-2005C B-2006C | PT-2006C |  |  | -0.7865% | Preliminary (For Survey) | Storage & Infiltration | 2005A | 35 | 60 |  |  |  |  | 4
[6 empty] | 10 | NP
PT-IB2006A refusal at 6', not reattempted due to inspector error
[5 empty] | PT-IB2006B | 5 | 0.1045 | NE | NE | [13 empty] | Storage | N/A | 135
[6 empty] | 10 | 0.8634 |  |  | Poor permeability at 5'
| B-2006C | 5'-7' | CL-ML | 70.7% | PT-2006C | 5 | 0.3965 | NE | NE | Sample 2 taken from 9'-11'
|  | 9'-11' | SM | 13.33% |  | 10 | 12.4876 |  |  | High fines 5'-7'
|  | 11'-13' | SW-SM | 10.07%
|  | 18'-20' | SM | 12.14%
15th Avenue between 66th Street and 67th Street | [10 empty] | PP2010 | [10 empty] | Rejected | [7 empty] | Sewer Main Conflict
[11 empty] | PP2011 | [10 empty] | Rejected | [7 empty] | Subway Route Conflict
66th Street between 15th Avenue and Duryea Court | B-2012B | 5'-7' | SM | 33.5% | PT-2012B | 5 | 0.0097 | NE | NE | Poor permeability at 5' | PP2012 | Rejected | [9 empty] | Preliminary (Interim Rejection) | [7 empty] | Surrouding area mostly has Low PT at 5' or Clay
|  | 7'-9' | SP-SM | 5.41% |  | 10 | 0.9818
|  | 11'-13' | SW-SM | 11.88%
|  | 18'-20' | SW-SM | 11.74%
[5 empty] | PT-2012D | 5 | 0.8842 | NE | NE
[6 empty] | 10 | 1.716
[5 empty] | PT-IB2012E | 5 | 0.261 | NE | NE | Poor permeability at 10'
[6 empty] | 10 | 0.0574
[11 empty] | PP2012-1 | [10 empty] | Preliminary (Interim Rejection) | [7 empty] | Surrouding area mostly has Low PT at 5' or Clay
| B-IB2013A | 5'-7' | SW-SM | 8.96% | PT-IB2013A | 5 | 0.0125 | NE | NE | Poor permeability at 5' | PP2013 | Preliminary (For Survey) |  | IB2013A | 100 | 105 | B-IB2013A | PT-IB2013A |  |  | -0.1217% | Preliminary (Interim Rejection) | [7 empty] | Surrouding area mostly has Low PT at 5' or Clay
|  | 7'-9' | SP-SM | 6.13% |  | 10 | 0.1337 |  |  | B-IB2013A refusal at 15' bgs
|  | 11'-13' | SP-SM | 7.99% | [5 empty] | Sample 4 taken from 13'-15'
|  | 13'-15' | SM | 12.56%
[5 empty] | PT-2013-1A | 5 | 0.1607 | NE | NE |  | PP2013-1 | Preliminary (For Survey) |  | 2013-1C | 50 | 115 | B-2013-1C | PT-2030-1C |  |  | -0.131% | Preliminary (Interim Rejection) | [7 empty] | Surrouding area mostly has Low PT at 5' or Clay
[6 empty] | 10 | 0.0064 |  |  | Poor permeability at 10'
| B-2013-1C | 5'-7' | SC-SM | 46.94% | PT-2013-1C | 5 | 0.6096 | NE | NE | Poor permeability at 10'
|  | 7'-9' | SP-SM | 6.03% |  | 10 | 0.1022 |  |  | High fines 5'-7'
|  | 11'-13' | SM | 16.88%
|  | 18'-20' | GP-GM | 10.21%
66th Street between Duryea Court and 16th Avenue |  |  |  |  | PT-IB2027A | 5 | 2.1237 | NE | NE | Infer boring data from 2028B | PP2027 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.283 |  |  | B-2028B refusal at 18.5' bgs
Sample 4 from 18'-18.5'
| B-2028B | 5'-7' | SM | 18.64% | PT-2028B | 5 | 0.8702 | NE | NE | B-2028B refusal at 18.5' bgs | PP2028 | Preliminary (For Survey) |  | 2028B | 215 | 55 | B-2028B | PT-2028B |  |  | 0.6525% | Preliminary (Interim Rejection) | [7 empty] | Surrouding area mostly has Low PT at 5' or Clay
|  | 7'-9' | SM | 15.9% |  | 10 | 0.136 |  |  | Sample 4 from 18'-18.5'
|  | 11'-13' | SM | 16.26%
|  | 18'-18.5' | SM | 13.88%
[5 empty] | PT-2028D | 5 | 0.0128 | NE | NE
[6 empty] | 10 | 0.0271 |  |  | Poor permeability at 5' and 10'
| B-2028E | 5'-7' | CL-ML | 81.26% | PT-2028E | 5 | 0.0161 | NE | NE | B-2028E refusal at 19' bgs
|  | 7'-9' | SC-SM | 42.78% |  | 10 | 1.5549 |  |  | Sample 4 taken from 18'-19'
|  | 11'-13' | SC-SM | 41.6% | [5 empty] | Poor permeability at 5'
|  | 18'-19' | SM | 35.75% | [5 empty] | High fines throughout
Duryea Court between 66th Street and 67th Street | B-IB2014A | 5'-7' | SM | 22.48% | PT-IB2014A | 5 | 0.0585 | NE | NE | Poor permeability at 5' | PP2014 | Rejected | [9 empty] | Preliminary (Interim Rejection) | [7 empty] | Silt and Clay above 5' and Low PT
|  | 7'-9' | SW-SM | 9.76% |  | 10 | 0.2739
|  | 11'-13' | SM | 12.72%
|  | 18'-20' | SM | 14.64%
| B-IB2015A | 5'-7' | SM | 14.78% | PT-IB2015A | 5 | 1.8835 | NE | NE | B-IB2015A refusal at 16' bgs | PP2015 | Preliminary (For Survey) |  | IB2015A | 220 | 110 | B-IB2015A | PT-IB2015A |  |  | 0.7542% | Preliminary (Interim Rejection) | [7 empty] | Silt and Clay above 5' and Low PT
|  | 7'-9' | SM | 12.97% |  | 10 | 0.3265 |  |  | Sample 4 taken from 15'-16'
|  | 11'-13' | SM | 16.09%
|  | 15'-16' | SP-SM | 8.61%
67th St between New Utrecht Avenue and 16th Avenue |  |  |  |  | PT-IB2048A | 5 | 0.1632 | NE | NE | Low permeability at 10' | PP2048 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.0729
| B-2048C | 5'-7' | SW-SM | 9.08% | PT-2048C | 5 | 0.3919 | NE | NE | Low permeability at 10'
|  | 7'-9' | SM | 13.19% |  | 10 | 0.0476
|  | 11'-13' | SW-SM | 11.1%
|  | 18'-20' | SW-SM | 8.02%
| B-GS2016A | 5'-7' | ML | 56.13% | PT-GS2016A | 5 | 0.0058 | NE | NE | B-GS2016A refusal at 18' bgs | PP2016 | Rejected | [9 empty] | Preliminary (Interim Rejection) | [7 empty] | Surrounding area mostly has silt and clay above 7' and Low PT at 5'
|  | 7'-9' | SM | 29.28% |  | 10 | 0.0224 |  |  | Sample 4 taken from 17'-18'
|  | 11'-13' | SM | 30.86% | [5 empty] | Poor permeability at 5' and 10'
|  | 17'-18' | SM | 20.29% | [5 empty] | High fines 5'-7'
| B-IB2016C | 5'-7' | SM | 27.39% | PT-IB2016C | 5 | 2.0675 | NE | NE | Poor permeability at 10'
|  | 7'-9' | ML | 56.24% |  | 10 | 0.0131 |  |  | High fines 7'-9'
|  | 11'-13' | SM | 27.79%
|  | 18'-20' | SM | 24.14%
| B-GS2017B | 5'-7' | CL-ML | 82.2% | PT-GS2017B | 5 | 0.276 | NE | NE | B-GS2017B refusal at 18' bgs | PP2017 | Preliminary (Interim Rejection) | [9 empty] | Preliminary (Interim Rejection) | [7 empty] | Surrounding area mostly has silt and clay above 7' and Low PT at 5'
|  | 7'-9' | GM | 18.44% |  | 10 | 0 |  |  | Sample 4 taken from 17'-18'
|  | 11'-13' | SM | 17.45% | [5 empty] | Poor permeability at 10'
|  | 17'-18' | SM | 17.08% | [5 empty] | High fines 5'-7'
15th Avenue between 67th Street and Ovington Avenue | B-1095C | 5'-7' | SC-SM | 18.39% | PT-1095C | 5 | 2.0586 | NE | NE | Poor permeability at 10' | PP1095 | Rejected
|  | 7'-9' | SM | 20.06% |  | 10 | 0.0453
|  | 11'-13' | SM | 12.2%
|  | 18'-20' | SP-SM | 5.85%
| B-2019A | 5'-7' | SC-SM | 14.06% | PT-2019A | 5 | 2.2835 | NE | NE | Poor permeability at 10' | PP2019 | Preliminary (For Survey) |  | 2019B | 150 | 65 | B-2019A | PT-2019B |  |  | 0.538% | Preliminary (Interim Rejection) | [7 empty] | B-2019A and B-2019B have silt above 5'
|  | 7'-9' | SM | 15.45% |  | 10 | 0.1085
|  | 11'-13' | SM | 13.06%
|  | 18'-20' | SM | 24.02%
| B-2019B | 5'-7' | CL-ML | 53.21% | PT-2019B | 5 | 1.7836 | NE | NE | B-2019B refusal at 17' bgs
|  | 7'-9' | SP | 2.05% |  | 10 | 0.2011 |  |  | Sample 4 taken from 15'-17'
|  | 11'-13' | SM | 12.15% | [5 empty] | High fines 5'-7'
|  | 15'-17' | SM | 18.41%
[5 empty] | PT-2019D | 5 | 3.0804 | NE | NE
[6 empty] | 10 | 0.0295
Poor permeability at 10'
New Utrecht Avenue between 68th Street and Ovington Avenue | [10 empty] | PP2021 | [10 empty] | Rejected | [7 empty] | Subway Route Conflict
[11 empty] | PP2018 | [10 empty] | Rejected | [7 empty] | Subway Route Conflict
[11 empty] | PP2020.2 | [10 empty] | Rejected | [7 empty] | Subway Route Conflict
Ovington Avenue between 15th Avenue and New Utrecht Avenue | B-3045B | 3'-5' | SM | 16% | PT-3045B | 3 | 0.0214 | NE | NE | Low permeability at 3' | PP3045 |  |  | 3045B | 68 | 50 | B-3045B | PT-3045B |  |  | -16.83%
|  | 5'-7' | SW-SM | 11.9% |  | 6 | 0.5906
[5 empty] | PT-IB2020A(1) | 5 | 0.252 | NE | NE |  | PP2020.1 | [10 empty] | Preliminary (Interim Rejection) | [7 empty] | Low PT at 3ft
[6 empty] | 10 | 0 |  |  | Poor permeability at 10'
[5 empty] | PT-IB2020A(2) | 10 | 0.082
Ovington avenue between New Utrecht avenue and 16th Avenue | B-3048A | 3'-5' | SW-SM | 10.2% | PT-3048A | 3 | 6.8391 | NE | NE | Low permeability at 6' | PP3048 |  |  | GS3048C | 70 | 420 | B-GS3048C | PT-GS3048C |  |  | 5.546%
|  | 5'-7' | SW-SM | 7.1% |  | 6 | 0.0629
| B-GS3048C | 3'-5' | SP | 4.5% | PT-GS3048C | 3 | 3.4315 | NE | NE
|  | 5'-7' | SP-SM | 7.8% |  | 6 | 0.6788
| B-GS2022A | 5'-7' | SM | 18.02% | PT-GS2022A | 5 | 0.6713 | NE | NE | B-GS2022A refusal at 18' bgs | PP2022 | [10 empty] | Rejected | [7 empty] | Due to Water Main Conflict
|  | 7'-9' | SP-SM | 8.97% |  | 10 | 0.3982 |  |  | Sample 4 taken from 17'-18'
|  | 11'-13' | SP-SM | 9.65% | [10 empty] | Total ROWPP Distance (ft) | #REF! |  |  |  |  | #REF!
|  | 17'-18' | SM | 19.17%
[5 empty] | PT-IB2022B | 5 | 2.6286 | NE | NE
[6 empty] | 10 | 0.0806 |  |  | Poor permeability at 10'
[5 empty] | PT-GS2022C | 5 | 0.6188 | NE | NE
[6 empty] | 10 | 1.2155
16th Avenue and 67th Street and 68th Street | [10 empty] | PP2023 | [10 empty] | Preliminary (Interim Rejection) |  |  |  |  | B-GS2017B | PT-GS2017B |  | Surrounding area has silt and clay above 7'
[11 empty] | PP2024 | [10 empty] | Preliminary (Interim Rejection) |  |  |  |  | B-IB2047B | PT-IB2047B |  | Surrounding area has silt and clay above 7'
16th Avenue between 66th Street and 67th Street | [10 empty] | PP2025 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
| B-2026A | 5'-7' | SP-SM | 9.37% | PT-2026A | 5 | 0.5234 | NE | NE |  | PP2026 | Preliminary (For Survey) |  | 2026A | 76 | 245 | B-2026A | PT-2026A |  |  | 0.7468% | Preliminary (For Survey) | Storage | N/A | 110 | [5 empty] | 4
|  | 7'-9' | SM | 15.84% |  | 10 | 0.365
|  | 11'-13' | SW-SM | 6.6%
|  | 18'-20' | GW-GM | 8.89%
[23 empty] | Storage & Infiltration | 2026A | 150 | 90
65th Street between 16th Avenue and 17th Avenue | B-2030-1A | 5'-7' | GM | 17.15% | PT-2030-1A | 5 | 0.0458 | NE | NE | PT-2030-1A refusal at 6.5', not reattempted | PP2030-1 GKOH15-04 | Rejected | [9 empty] | Rejected | [7 empty] | Truck Route
|  | 7'-9' | GP-GM | 11.28% |  | 10 | NP |  |  | Poor permeability at 5'
|  | 11'-13' | SM | 26.01%
|  | 18'-20' | SM | 14.02%
| B-IB2030-1B | 5'-7' | GM | 38.67% | PT-IB2030-1B | 5 | 0.0176 | NE | NE | Poor permeability at 5'
|  | 7'-9' | GM | 14.75% |  | 10 | 0.1502 |  |  | B-IB2030-1B no recovery at 9'-11'
|  | 11'-13' | GM | 18.06% | [5 empty] | Sample 3 taken from 11'-13'
|  | 18'-20' | GM | 13.2%
| B-2030-1C | 5'-7' | CL-ML | 55.68% | PT-2030-1C | 5 | 0.0239 | NE | NE | B-2030-1C refusal at 16' bgs
|  | 7'-9' | SM | 30.02% |  | 10 | 0.3557 |  |  | Sample 4 taken from 15'-16'
|  | 11'-13' | GM | 14% | [5 empty] | High fines 5'-7'
|  | 15'-16' | SM | 17.07% | [5 empty] | Poor permeability at 5'
[5 empty] | PT-3105A(1) | 5 | 0 | NE | NE |  | PP3105 GKOH15-03
[5 empty] | PT-3105A(1) | 10 | 0.068991
[5 empty] | PT-3105A(2) | 5 | 2.5384 |  |  | 5' PT attempt had no infiltration; offset completed.
[5 empty] | PT-3105A(2) | 10 | NP
| B-3105B(1) | 5'-7' | SM/SC | 30.27% | PT-3105B(1) | 5 | 0.14438 | NE | NE
|  | 7'-9' | SM/SC | 42.93% | PT-3105B(1) | 10 | 0.73627
|  | 11'-13' | SP-SM/SC | 10.04%
|  | 18'-20' | SW-SM/SC | 7.757%
[5 empty] | PT-3105C(1) | 5 | 0.44048 | NE | NE
[5 empty] | PT-3105C(1) | 10 | 1.0507
| B-3105E(1) | 5'-7' | SM/SC | 17.21% | PT-3105E(1) | 5 | 0.042387 | NE | NE
|  | 7'-9' | SW-SM/SC | 9.963% | PT-3105E(1) | 10 | 0.64563
|  | 11'-13' | SM/SC | 15.65%
|  | 18'-20' | SP-SM/SC | 10.49%
| B-3105G(1) | 5'-7' | SM/SC | 15.27% | PT-3105G(1) | 5 | 0 | NE | NE | SB terminated at 15' due to refusal
|  | 7'-9' | GP-GM/GC | 11.11% | PT-3105G(1) | 10 | 0.10924
|  | 11'-13' | SM/SC | 14.33% | PT-3105G(2) | 5 | 0.0721 |  |  | First 5' PT attempt had no infiltration; offset completed.
[5 empty] | PT-3105G(2) | 10 | NP
| B-3105H(1) | 5'-7' | GM/GC | 16.4% | PT-3105H(1) | 5 | 0.24876 | NE | NE
|  | 7'-9' | SW-SM/SC | 9.839% | PT-3105H(1) | 10 | 0.026425
|  | 11'-13' | SM/SC | 14.61%
|  | 18'-20' | SM/SC | 18.33%
17th Avenue between 65th Street and 66th Street | B-IB2032A | 5'-7' | SM | 12.44% | PT-IB2032A | 5 | 3.5434 | NE | NE | B-IB2032A refusal at 16' bgs | PP2032 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
|  | 7'-9' | GP-GM | 8.42% |  | 10 | 3.8867 |  |  | Sample 4 not taken
|  | 11'-13' | GP | 0%
| B-2055AA | 5'-7' | SM | 34.16% | PT-2055AA | 5 | 1.3559 | NE | NE | B-2055AA refusal at 15' bgs | PP2055 | Rejected | [9 empty] | Rejected | [7 empty] | Sewer Main Conflict
|  | 7'-9' | GM | 24.3% |  | 10 | 0.1463 |  |  | Sample 4 taken from 13'-15'
|  | 11'-13' | SM | 39.31% | [5 empty] | High fines at 13'-15'
|  | 13'-15' | CL-ML | 53.34%
[5 empty] | PT-2055A | 5 | 0.0503 | NE | NE | Low permeability at 5'
[6 empty] | 10 | 0.1515
66th Street between Wallaston Court and 17th Avenue | B-2033-2A | 5'-7' | SM | 25.2% | PT-2033-2A | 5 | 0.021 | NE | NE | Poor permeability at 5' and 10' | PP2033-2 | Preliminary (Interim Rejection) | [9 empty] | Rejected | [7 empty] | Water Main Conflict
|  | 7'-9' | GP-GM | 10.81% |  | 10 | 0.0477 |  |  | B-2033-2A refusal at 15' bgs
|  | 11'-13' | SM | 20.25%
| B-2033-2E | 5'-7' | GW-GM | 8.7% | PT-2033-2E(1) | 5 | NP | NE | NE | Poor permeability at 10'
|  | 7'-9' | GP-GM | 6.62% |  | 10 | NP |  |  | B-2033-2E refusal at 16.5' bgs
|  | 11'-13' | GW-GM | 7.78% | PT-2033-2E(2) | 5 | 0.1678 |  |  | Sample 4 taken from 15'-16.5'
|  | 15'-16.5' | GP-GM | 10.49% |  | 10 | 0.1165 |  |  | PT-2033-2E(1) refusal at 4' bgs
[5 empty] | PT-2038B | 5 | 0.752 |  |  |  | PP2038 | [10 empty] | Preliminary (Interim Rejection) |  |  |  |  | B-IB2041A | PT-IB2041A |  | Surrounding area has clay above 5' and mostly Low PT
[6 empty] | 10 | 0.0347
66th Street between Cameron Court and Wallaston Court | B-2033-1A | 5'-7' | SM | 33.22% | PT-2033-1A | 5 | 0.1962 | NE | NE | Poor permeability at 10' | PP2033-1 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
|  | 7'-9' | SM | 18.59% |  | 10 | 0.0592 |  |  | B-2033-1A refusal at 17' bgs
|  | 11'-13' | SM | 27.05%
|  | 15'-17' | SM | 12.27%
[11 empty] | PP2037 | [10 empty] | Preliminary (For Survey) | Storage & Infiltration | 2033-1A | 120 | 55 |  |  |  |  | 4
66 Street between Ovington Ct and Cameron Ct | [10 empty] | PP2033 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[5 empty] | PT-IB2036A | 5 | 0.6743 | NE | NE |  | PP2036 | Preliminary (For Survey) |  | 2036B | 120 | 20 | B-2036B | PT-2036A PT-2036B |  |  | 1.94% | Preliminary (For Survey) | Storage & Infiltration | 2036B | 100 | 75 |  |  |  |  | 4
[6 empty] | 10 | 0.2042
| B-2036B | 5'-7' | SW-SM | 7.27% | PT-2036B | 5 | 0.8406 | NE | NE
|  | 7'-9' | SW-SM | 7.14% |  | 10 | 0.2653
|  | 11'-13' | GP-GM | 10.45%
|  | 18'-20' | SP-SM | 7.43%
66 Street between 16th avenue and Ovington Ct | B-2034B | 5'-7' | GP-GM | 10.06% | PT-2034B | 5 | 0.5818 | NE | NE | B-2034B Refusal at 15.5' due to dense gravelly sand | PP2034 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
|  | 7'-9' | SM | 16.48% |  | 10 | NP |  |  | Only three samples are taken
|  | 11'-13' | SM | 14.43% | [5 empty] | PT-2034B refusal at 6.5' bgs, not reattempted
[5 empty] | PT-2035A | 5 | 0.7289 | NE | NE |  | PP2035 | Preliminary (For Survey) |  | 2034B | 40 | 120 | B-2034B | PT-2035A |  |  | 1.626% | Preliminary (Interim Rejection) | [7 empty] | High plasticity clay in B-2034B above 5'
[6 empty] | 10 | 0.1525
17th Avenue between 66th Street and 67th Street | B-IB2039B | 5'-7' | SP-SM | 10.18% | PT-IB2039B | 5 | 0.2782 | NE | NE | B-IB2039B refusal at 16' bgs, sample 4 taken from 15'-16' | PP2039 | Rejected | [9 empty] | Rejected | [7 empty] | Sewer Main Conflict
|  | 7'-9' | SM | 12.41% |  | 10 | 0.0168 |  |  | Low permeability at 10'
|  | 11'-13' | SM | 14.45%
|  | 15'-16' | SM | 13.79%
[5 empty] | PT-2058A | 5 | 0 | NE | NE | Low permeability at 5' and 10' | PP2058 | [10 empty] | Rejected | [7 empty] | Sewer Main Conflict
[6 empty] | 10 | 0
[5 empty] | PT-2058B | 5 | 0 | NE | NE | Low permeability at 5' and 10'
[6 empty] | 10 | 0.0034
Wallaston Ct between 66th Street and 67th Street | B-IB2041A | 5'-7' | CL-ML | 65.42% | PT- IB2041A(1) | 5 | 0 | NE | NE | High fines from 5'-7' and 18'-20' | PP2041 | Preliminary (For Survey) |  | IB2042B | 110 | 190 | B-IB2042B | PT-IB2042B PT-IB2042C |  |  | -1.655% | Prelminary (For Survey) | Storage | N/A | 70 | [5 empty] | 4
|  | 7'-9' | SM | 17.78% |  | 10 | 0 |  |  | Low permeability at 5' and 10'
|  | 11'-13' | GM | 17.22% | PT- IB2041A(2) | 5 | 0
|  | 18'-20' | CL-ML | 53.99% |  | 10 | 0
[23 empty] | Storage & Infiltration | IB2042B | 50 | 200
[5 empty] | PT-IB2042A | 5 | 0.7753 | NE | NE | Low permeability at 10' | PP2042.1 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.0062
| B-IB2042B | 5'-7' | SM | 14.62% | PT-IB2042B | 5 | 2.2018 | NE | NE | Low permeability at 10'
|  | 7'-9' | SW-SM | 8.55% |  | 10 | 0.038
|  | 11'-13' | SW-SM | 7.93%
|  | 18'-20' | SM | 12.24%
| B-IB2042C | 5'-7' | SW-SM | 9.03% | PT-IB2042C | 5 | 2.1572 | NE | NE | Low permeability at 10'
|  | 7'-9' | SW-SM | 10.68% |  | 10 | 0.0231
|  | 11'-13' | SP-SM | 5.93%
|  | 18'-20' | SM | 13.4%
Cameron Ct between 66th Street and 67th Street | B-IB2044A | 5'-7' | GM | 16.49% | PT-IB2044A | 5 | 0.7213 | NE | NE | Low permeability at 10' | PP2043 | Preliminary (For Survey) |  | IB2044A | 25 | 250 | B-IB2044A | PT-IB2044A PT-IB2044B |  |  | -0.914% | Prelminary (For Survey) | Storage & Infiltration | IB2044A | 30 | 150 |  |  |  |  | 4
|  | 7'-9' | SW-SM | 9.97% |  | 10 | 0.0144
|  | 11'-13' | SM | 13.93%
|  | 18'-20' | SW-SM | 10.91%
[23 empty] | Storage | N/A | 150
[5 empty] | PT-IB2044B | 5 | 0.0922 | NE | NE | Low permeability at 5' | PP2044 | [10 empty] | Prelminary (For Survey) | Storage & Infiltration | IB2044A | 30 | 150 |  |  |  |  | 2
[6 empty] | 10 | 0.3487
[23 empty] | Storage | N/A | 150
Ovington Ct between 66th Street and 67th Street | B-IB2045B | 5'-7' | SM | 15.34% | PT-IB2045B | 5 | 0.7722 | NE | NE | 18'-20' sample contains small fragments of plastic | PP2045 | Preliminary (For Survey) |  | IB2045B | 50 | 250 | B-IB2045B | PT-IB2045B PT-IB2046A |  |  | -0.06204% | Prelminary (For Survey) | Storage & Infiltration | IB2045B | 60 | 150 |  |  |  |  | 4
|  | 7'-9' | SM | 12.4% |  | 10 | 0.9709
|  | 11'-13' | GP-GM | 11.02%
|  | 18'-20' | SW-SM | 8.37%
[23 empty] | Storage | N/A | 120
[5 empty] | PT-IB2046A | 5 | 0.6404 | NE | NE |  | PP2046 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.5609
67th St between 17th Avenue and 16th Avenue | B-IB2047B | 5'-7' | CL | 75.6% | PT-IB2047B | 5 | 0.3628 | NE | NE | High fines from 5'-7' | PP2047 | Rejected | [9 empty] | Rejected | [7 empty] | Water Main Conflict
|  | 7'-9' | SM | 31.73% |  | 10 | 0.0063 |  |  | Low permeability at 10'
|  | 11'-13' | GM | 17.81%
|  | 18'-20' | SP-SM | 10.64%
[11 empty] | PP2044-1 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[11 empty] | PP2044 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[11 empty] | PP2040 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[11 empty] | PP2042.2 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[11 empty] | PP2049 | [10 empty] | Preliminary (Interim Rejection) | [7 empty] | Low plasticity silt above 7' in IB2047B
[11 empty] | PP2049-1 | [10 empty] | Rejected | [7 empty] | Conflict with siting criteria
17th Avenue between 67 Street and 68 Street | [10 empty] | PP2050 | [10 empty] | Rejected | [7 empty] | Sewer Main Conflict
[11 empty] | PP2062 | [10 empty] | Rejected | [7 empty] | Sewer Main Conflict
68th St between 16th and 17th Avenue | B-2051A(1) |  |  |  | PT-2051A | 5 | 2.71 | NE | NE | Low permeability at 10' | PP2051 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
| B-2051A(2) | 1'-3' | SW-SM | 11.84% |  | 10 | 0.008
|  | 3'-5' | SM | 18.16%
| B-2051C(1) |  |  |  | PT-2051C | 5 | 0.509 | NE | NE
| B-2051C(2) | 1'-3' | SM | 37.1% |  | 10 | 0.132
|  | 3'-5' | GM | 16.53%
[5 empty] | PT-2051G | 5 | 0.13 | NE | NE
[6 empty] | 10 | 1.125
[5 empty] | PT-2051-1A | 5 | 0.292 | NE | NE | Low permeability at 10' | PP2051-1 | [10 empty] | Rejected | [7 empty] | Water Main Conflict
[6 empty] | 10 | 0.017
[5 empty] | PT-2051-1D | 5 | 0.411 | NE | NE
[6 empty] | 10 | 0.309
| B-IB2051-1F | 5'-7' | SM | 12.95% | PT-IB2051-1F | 5 | 0.53 | NE | NE
|  | 7'-9' | SM | 14.03% |  | 10 | 0.912
|  | 11'-13' | SM | 15.79%
|  | 18'-20' | SM | 16.14%
[5 empty] | PT-IB2051-1G | 5 | 0.629 | NE | NE
[6 empty] | 10 | 0.422
[5 empty] | PT-2051-1H | 5 | 2.886 | NE | NE | Low permeability at 10'
[6 empty] | 10 | 0.025
PP3100
PP3101

## Notes
Notes on Interim Geotechnical Report Summary Table
1) | Worksheet names | All interim reports must be in the same workbook, but as separate worksheets. Please label each worksheet by the submission number.
2) | 'GI ID No.': | Do not put anything other than the ID No. in this column.
3) | Nearest Boring ID No.: | Boring ID's must be unique from the GI ID. For example, for a boring performed in ROWB 238A, the boring ID will be "B-238A".
For historical boring locations, put the exact historical boring number (project number and boring location number), without the "B-".
4) | Nearest Permeability Test ID No.: | PT ID's must be unique from the GI ID and boring ID. For example, for a PT performed in ROWB 238A, the PT ID will be "P-238A".
5) | For historical borings, please provide the complete soil description provided in the boring logs, up to 20 ft depth.
6) | Only numbers should be inputted in the '% Passing No 200 Sieve', 'Average Permeability Coef. (ft)', 'Groundwater Table Depth (ft)', and 'Bedrock Depth (ft)' columns.
For the ‘% Passing No. 200 Sieve’ column, values must be between 0 and 1. (i.e. use either 0.15 or 15% not 15). Numbers greater than 1 will not be accepted.
Please refer below for allowable exceptions and other specific instructions:
(NE = not encountered, NR = no record, NP = not performed)
| Column | Exception(s)
| 'USCS Symbol', '% Passing No 200 Sieve' | If soil sampling was cancelled due to groundwater, bedrock, obstructions, etc., enter "NP" (details should be included in the 'General Geotech Notes' column)
If soil sample could not be obtained or recovery was too low to be analyzed, enter "NR"
| Average Permeability Coef. (ft) | For high permeabilities where the water level drop rate could not be measured, enter "RI"
If a PT was not conducted, enter "NP" (details should be included in the 'General Geotech Notes' or 'Additional Notes' as applicable)
| Groundwater Table Depth (ft) | Enter the depth that groundwater was encountered.
If groundwater was not encountered, enter "NE"
If perched water was encountered, enter "NE" (but include in the 'General Geotech Notes' column)
| Bedrock Depth (ft) | Enter the depth that bedrock was encountered.
If bedrock was not encountered, enter "NE"
7) | General Geotech Notes: | Where clearance data is provided, please indicate whether the vault survey has been conducted or not.
Other relevant information include (but not limited to): refusal (please provide possible cause of refusal), suspected contamination, perched water, etc.
8) | Siting Analysis | Calculated Stormwater Mgmt Capacity (CF)': Use latest BEPA-GI Capacity Calculator
Appoximate Length of Sited Upstream Tributary* (ft)': In general should match corresponding values from Boring Plan Table
Minimum Required Length of Upstream Tributary** (ft): Use formula provided. TDA width must be consistent with the sum of the field-verified sidewalk width and half the roadway width
8) | Additional Notes: | Use this column to provide information not directly related to the field or subsurface conditions (e.g. rejection by DOT due to a site-specific constraint, etc.)
Include clearance to building/wall/other structure if the distance is less than 10 feet and/or PT results at 5 ft are significantly greater than the PT results at 10 ft.
Where clearance data is provided, please indicate whether the vault survey will be performed or not.