## SW Calculation Table
NYC Department of Environmental Protection
Bureau of Environmental Planning and Analysis
Borough of X, New York
DEP Contract ID: |  | [Contract] | [14 empty] | Site Name: | [Property Name, Owner Agency Name]
DEP Project: |  | [Project Description] | [14 empty] | Site Address: | [Site Address, Borough]
Prepared By: |  | [Consultant/Sub Name] | [14 empty] | Date: | [Date of Submission]
Stormwater Calculation Table for On-site GI Practices
Submission Stage: |  | [Conceptual/Schematic/60%/90%/100% Plans]
GI ID |  | GI Asset Data |  |  |  |  | Stormwater Storage Calculations | [9 empty] | Total Stormwater Managed (Infiltration + Storage) |  |  |  |  | As Built Stormwater Managed (Infiltration + Storage) |  |  | Additional Notes
|  | Managed Impervious Tributary Area | Volume 1.25" Rainfall on Impervious Area | GI Footprint Surface Area | GI Perimeter | Permeability Coefficient | Stormwater chambers, pipes, tanks, etc. volume | Surface Storage |  |  | Engineered Soil |  |  | Stone Subbase
[8 empty] | Surface Storage Area | Surface Storage Depth | Surface Storage Volume | Soil Depth | Soil Voids | Stormwater Captured by Soil | Stone Depth | Stone Voids | Stormwater Captured by Stone Layer | Estimated Total Infiltration Volume | Estimated Total Storage Volume | % Impervious Surface Managed | Calculated Volume of Rainfall Captured | Calculated Volume of Rainfall Captured | Double Ring Infiltrometer Permeability Coefficient | Calculated Volume of Rainfall Captured | Calculated Volume of Rainfall Captured
|  | sf | cf | sf | ft | in/hr | cf | sf | in | cf | ft | % | cf | ft | % | cf | cf | cf | % | cf | gal | in/hr | cf | gal
Alternative 1 | No retention, sized for static volume to capture 1.25 in | 43560 | 4537.5 | 2420 | 196.774 | 0 | 0 | 1815 | 2 | 302.5 | 2 | 25 | 1210 | 2.5 | 50 | 3025 | 0 | 4537.5 | 100% | 4537.5 | 33940.5 | 0 | 4537.5 | 33940.5 | To be used for all detention-based practices with 0.1 cfs/ac release rate
| Retention credit, sized for static volume to capture 1.25 in (as above) but manages 1.5 in | 43560 | 4537.5 | 2420 | 196.774 | 0.5 | 0 | 1815 | 2 | 302.5 | 2 | 25 | 1210 | 2.5 | 50 | 3025 | 1019.8385 | 4537.5 | 100% | 5557.3385 | 41568.8918 | 0.5 | 5557.3385 | 41568.8918
| Retention credit, sized for static volume to capture 1.25 in (as above) but manages 1.8 in | 43560 | 4537.5 | 2420 | 196.774 | 1 | 0 | 1815 | 2 | 302.5 | 2 | 25 | 1210 | 2.5 | 50 | 3025 | 2039.677 | 4537.5 | 100% | 6577.177 | 49197.2837 | 1 | 6577.177 | 49197.2837
TOTALS
Alternative 2 | 01RGa | 43560 | 4537.5 | 2268.75 | 190.5256 | 0 | 0 | 1701.5625 | 2 | 283.5938 | 2 | 25 | 1134.375 | 2.5 | 50 | 2835.9375 | 0 | 4253.9062 |  | 4253.9062
| 01RGb1 | 0 | 0 |  |  | 0.5 | 0 | 0 | 2 | 0 | 2.5 | 25 | 0 | 2.5 | 50 | 0 | 0 | 0 |  | 0
| 02STa2 | 0 | 0 |  |  | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 40 | 0 | 0 | 0 |  | 0
| TOTALS | 43560 | 4537.5 | [16 empty] | 4253.9062
Notes:
See instructions for specificdirections and guidance in filling out the calculation table.
Shaded cells require input. Unshaded cells contain formulas or static values.
Table is to be inserted into drawings and reports as specificed in the Onsite Design Guideline.
rev 2/2/2016
……………………………………………………
.

## SW Calculation Table- 1 in (hidden)
NYC Department of Environmental Protection
Bureau of Environmental Planning and Analysis
Borough of X, New York
DEP Contract ID: |  | [Contract] | [14 empty] | Site Name: | [Property Name, Owner Agency Name]
DEP Project: |  | [Project Description] | [14 empty] | Site Address: | [Site Address, Borough]
Prepared By: |  | [Consultant/Sub Name] | [14 empty] | Date: | [Date of Submission]
Stormwater Calculation Table for On-site GI Practices
Submission Stage: |  | [Conceptual/Schematic/60%/90%/100% Plans]
GI ID |  | GI Asset Data |  |  |  |  | Stormwater Storage Calculations | [9 empty] | Total Stormwater Managed (Infiltration + Storage) | [5 empty] | Additional Notes
|  | Managed Impervious Tributary Area | Volume 1" Rainfall on Impervious Area | GI Footprint Surface Area | GI Perimeter | Permeability Coefficient | Stormwater chambers, pipes, tanks, etc. volume | Surface Storage |  |  | Engineered Soil |  |  | Stone Subbase
[8 empty] | Surface Storage Area | Surface Storage Depth | Surface Storage Volume | Soil Depth | Soil Voids | Stormwater Captured by Soil | Stone Depth | Stone Voids | Stormwater Captured by Stone Layer | Estimated Total Infiltration Volume | Estimated Total Storage Volume | Calculated Outflow for Detention | Calculated Volume of 1.25" Rainfall Captured | % Impervious Surface Managed | Managed storm credit
|  | sf | cf | sf | ft | in/hr | cf | sf | in | cf | ft | % | cf | ft | % | cf | cf | cf | cf | cf | %
Alternative 1 | No retention, sized for static volume to capture 1.25 in | 43560 | 3630 | 1936 | 176 | 0 | 0 | 1452 | 2 | 242 | 2 | 25 | 968 | 2.5 | 50 | 2420 | 0 | 3630 |  | 3630 | 100% | 1
| Retention credit, sized for static volume to capture 1.25 in (as above) but manages 1.5 in (see column V) | 43560 | 3630 | 1936 | 176 | 0.5 | 0 | 1452 | 2 | 242 | 2 | 25 | 968 | 2.5 | 50 | 2420 | 836 | 3630 |  | 4466 | 123% | 1.2303
| Retention credit, sized for static volume to capture 1.25 in (as above) but manages 1.8 in (see column V) | 43560 | 3630 | 1936 | 176 | 1 | 0 | 1452 | 2 | 242 | 2 | 25 | 968 | 2.5 | 50 | 2420 | 1672 | 3630 |  | 5302 | 146.1% | 1.4606
| Detention credit, sized for static volume to capture 1.25 in (as above) but manages 1.65 in (see column V) | 43560 | 3630 | 1936 | 176 | 0 | 0 | 1452 | 2 | 242 | 2 | 25 | 968 | 2.5 | 50 | 2420 | 0 | 3630 | 1440 | 5070 | 139.7% | 1.3967 | 0.05 cfs /ac
| Detention credit, sized for static volume to capture 1.25 in (as above) but manages 2 in (see column V) | 43560 | 3630 | 1936 | 176 | 0 | 0 | 1452 | 2 | 242 | 2 | 25 | 968 | 2.5 | 50 | 2420 | 0 | 3630 | 2880 | 6510 | 179.3% | 1.7934 | 0.1 cfs /ac
TOTALS
Alternative 2 | 01RGa | 43560 | 4537.5 | 2268.75 | 190.5256 | 0 | 0 | 1701.5625 | 2 | 283.5938 | 2 | 25 | 1134.375 | 2.5 | 50 | 2835.9375 | 0 | 4253.9062 |  | 4253.9062 | 93.75%
| 01RGb1 | 0 | 0 |  |  | 0.5 | 0 | 0 | 2 | 0 | 2.5 | 25 | 0 | 2.5 | 50 | 0 | 0 | 0 |  | 0 | 0%
| 02STa2 | 0 | 0 |  |  | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 40 | 0 | 0 | 0 |  | 0 | 0%
| TOTALS | 43560 | 4537.5 | [16 empty] | 4253.9062 | 93.75%
101PPa and 01RGb are alternatives.
202SRa and 02STa are alternatives.
Notes:
See instructions below for specificdirections and guidance in filling out the calculation table.
Shaded cells require input. Unshaded cells contain formulas or static values.
Table is to be inserted into drawings and reports as specificed in the Onsite Design Guideline.
When inserting the table into the conceptual/walkthrough map, only show columns A-F and T-V. When inserting the table into schematic or contract plans, show the entire table on the drawing.
rev 2/2/2016
……………………………………………………
.

## Instructions
Instructions for On-Site GI Practice Stormwater Calculation Table
1) | 'GI ID': | Proposed practices that will be considered across all site-wide "alternative" options should be duplicated in each option. Among the site-wide alternative options, indicate which specific GI practice alternatives are alternatives to each other.
2) | 'Permeability Coefficient': | Use assumed permeability coefficient of 0.50 in/hr until actual permeability data is available. Assume a maximum of 5 in/hr for bioretention practices and 10 in/hr for all other practices. Update with double ring infiltrometer results for final submittal.
3) | 'Stormwater chambers, pipes, tanks, etc. volume': | For nonzero values, please explain the method used to determine the indicated value.
If using a calculator provided by a subsurface storage manufacturer, please submit the calculator that was used.
4) | 'Surface Storage': | Accounts for ponding area in bioretention practices and void spaces in porous asphalt/concrete surfaces.
Assume a ponding area of (0.75*total surface area) in bioretention practices.
Assume 33% void space in porous asphalt/concrete surfaces. Modify per manufacturer's specs as necessary.
5) | 'Engineered Soil': | Only for vegetated (bioretention) practices. Soil depth is determined based on proposed planting. Use a standard 25% for soil voids.
6) | Stone Storage Layer': | For all types of GI practices. Stone depth is determined by sizing for 100% management of 1'' rainfall on the corresponding TDA. Assume a minimum depth of 12'', unless otherwise indicated by the manufacturer.
For bioretention and subsurface retention, use default of 50%. Use a default of 40% for PP and synthetic turf. Modify per manufacturer's specs as necessary.
For subsurface retention practices, use an equivalent depth that includes the depth of the chambers. When calculating the stone storage capacity, subtract the storage volume of the chambers from the calculated storage volume of the stone layer before multiplying by stone void percentage.
7) | 'Estimated Total Infiltration Volume': | For bioretention practices, subtract the height of the header from the total depth of the practice (if applicable) when determining horizontal infiltration.
8) | '% Impervious Surface Managed': | Adjust other variables in table to approximate 100% management for each practice. Undersized or oversized practices may be acceptable on a case-by-base basis.
9) | 'Additional Notes': | Use this column to provide other relevant information, including but not limited to:
- the proposed bottom depths for subsurface storage practices
- if the permeability coefficient was inferred from a location outside of the practice footprint
- if the permeability coefficient used for the calculation was different from the measured value (i.e., using the maximum allowable value where rapid infiltration was encountered)