## Required Submission Materials for Project Close-Out & Cover Letter

Instructions:

- Applicant should determine the applicable required Project Close-Out submission material from the checklist on pages 2-3 based on project scope.

- All applicable materials should be prepared, listed in the Project Close-Out Cover Letter, and submitted with the Notice of Termination or Stormwater Maintenance Permit request in the SWPTS Portal.

- Stormwater Maintenance Permit (MP) requests are ONLY applicable to projects proposing stormwater management practices (SMPs).

- Notice of Termination (NOT) requests are required for ALL projects, with no exceptions.

- As-Built Plans must be signed and sealed by a Qualified Professional (QP). A QP is a person who is knowledgeable in the principles and practices of stormwater management and treatment such as a licensed Professional Engineer (PE) or Registered Landscape Architect (RLA) or other NYSDEC endorsed individual.

- NYC DEP Stormwater Permitting Team will issue a completed and signed eNOT MS4 Acceptance form once the NOT or MP request is approved.

Remove instructions before submitting

To NYC DEP Stormwater Permitting,

[Click or tap here to enter text.], located at [Click or tap here to enter text.], is requesting a [Click or tap here to enter text.] in accordance with RCNY §19.1-03.3. The Applicant has reviewed the Project Close-Out Materials Checklist and has provided the following attachments to this submission:

- NYS DEC eNOT Owner-Operator Certification Form

- NYS DEC eNOT Qualified Inspector Certification Final Stabilization Form

- NYS DEC eNOT Qualified Inspector Certification SMPs Form

- Most Recent Qualified Inspector (QI) Report

- As-Built Cover & Contributing Drainage Area Plan

- As-Built Drainage Utility & SMP Plan

- Operations & Maintenance Manual

- [Click or tap here to enter text.]

- [Click or tap here to enter text.]

- [Click or tap here to enter text.]

Please reach out to Click or tap here to enter text. at Click or tap here to enter text. with questions regarding the attached documentation.

The following Project Close-Out Materials Checklist must be reviewed prior to requesting a Notice of Termination (NOT) or Stormwater Maintenance Permit (MP):

| Required Material | Submission Type | Guidance |
| --- | --- | --- |
| ☐ Cover Letter | NOT & MP (always applicable) | Refer to the Project Close-Out Cover Letter template above. |
| ☐ NYS DEC Notice of Termination Forms | NOT & MP (always applicable) | When requesting a Notice of Termination from NYC DEP, complete and submit the following forms: - eNOT Owner-Operator Certification - eNOT Qualified Inspector Certification Final Stabilization When requesting a Stormwater Maintenance Permit from NYC DEP, complete and submit the following form in addition to the two (2) required forms for a NOT request: - eNOT Qualified Inspector Certification SMPs DEP will issue a completed eNOT MS4 Acceptance form once the NOT or MP request is approved. Applicable projects must submit the completed forms to NYS DEC after NYC DEP approval. |
| ☐ Most Recent Qualified Inspector (QI) Report - Demonstrating Final Stabilization | NOT & MP (always applicable) | Report must confirm: - All development activities identified in the SWPPP have been completed; - All areas of disturbance have achieved final stabilization with sufficient photos to show vegetated areas and the date of planting; - All temporary structural erosion and sediment control measures have been removed; and - Any post-construction stormwater management practices identified in the SWPPP have been constructed in conformance with the SWPPP and are operational |
| ☐ As-Built Cover & Contributing Drainage Area Plan - Must be in a scale no less than 1" to 50' - Must be signed and sealed by a Qualified Professional | MP only (always applicable) | Plan must include: - Drainage structures and pipes - Drainage Areas, and associated drainage points, delineated across entire site - Design Points of interest for each SMP and any point of discharge, with callouts including: - Contributing drainage area IDs - Total contributing area and surface type delineation - Limit of Disturbance delineated - Most recent tax lot delineation - Topography based on site survey, including spot elevations and contours |
| ☐ As-Built Drainage Utility & SMP Plan - Must be in a scale no less than 1" to 50' - Must be stamped and sealed by a Qualified Professional | MP only (always applicable) | Plan must include: - Site surface features - Drainage structures and pipes, including callouts for Structure #, invert elevation, size, and material - Subsurface drainage features of built SMPs, including footprint, inverts of pipes into or out of the practice, and inverts of overflow structures - On-site sewage treatment system locations - Callouts for all points of discharge - Management SMP callouts including: - SMP Size, Storage Volume, and Type (specify MTD manufacturer name/model and size, if applicable) - SMP Function Type - WQv Treated [cf] - Total & Impervious Tributary Area [sf] - Soil and/or Stone Depth [ft] - Drains to: (CSS/MS4) - Pretreatment (Y/N) - NNI Nitrogen Treatment (Y/N) - Subsurface SMP* callouts including: - Elevations for bottom of practice, interface of each media layer, top of ponding, and top of practice - Elevations of any groundwater table or bedrock - Elevations for the top/bottom of storage zones - Ponding depths - Media slope, depths, and specifications - Any observation wells and their materials specifications - Any pretreatment devices and proprietary SMPs * Subsurface SMP callouts are not required on the As-Built Plans if SWPPP Appendix F.4 SMP Installation Forms are included in the MP submission (templates are available for download at NYC DEP Stormwater Permits). |
| ☐ Operation & Maintenance Manual | MP only (always applicable) | Refer to Operations & Maintenance Manual Template on the NYC DEP Stormwater Permits website. |
| ☐ Certificate of Inspection “Sewer Card” - This is not in reference to a Plug Card | MP only (applicability dependent on project scope) | Required for each connection noted within the Project’s Approved Site Connection Plan. |
| ☐ NYC Stormwater Manual Appendix H - Applies to projects with ROW assets | MP only (applicability dependent on project scope) | Must be completed for each individual asset. |